## Slide 2: The Wheatstone Bridge
Figure 4.10
Use Kirchhoff’s Voltage Law:
Combining these equations gives

## Slide 3
What is the Wheatstone
bridge equation if another
resistor, Rx, is added in
parallel with R1 ?
Rx

## Slide 4
One advantage of using two resistors in parallel in
one leg of the WB is that the added resistor can be
located remotely from the actual WB, such as in a flow.
Here, that resistor can serve as a sensor.
Rx

## Slide 5
When Eo = 0, the WB is ‘balanced’ →
When the WB is balanced and 3 of the 4 resistances
are known, the 4th (unknown) resistance can be found
using the balanced WB equation. The is called the null
method.

## Slide 6
Now consider the case when all 4 resistors are the
same initially and, then, one resistance, say R1 is changed
by an amount R. This is called the deflection method.
Often, R is associated with a change in a physical variable.

## Slide 7: Cantilever Beam with Four Strain Gages
Figure 4.11
From solid mechanics, for a cantilever beam, L or C ~ F
Figure 6.2

## Slide 8: The Cantilever Beam with Four Gages
The bridge equation
This is the voltage/force relation for a cantilever beam.
Because R ~ L or C ~ F, Eo = constant x F
becomes

## Slide 9: Loading Error
When measuring a current, the input impedance of the
ammeter must be much less than the equivalent circuit’s
output impedance.
When measuring a voltage, the input impedance of the
voltmeter must be much greater than the equivalent
circuit’s output impedance.