## Slide 1: Calibration and Static Response
Measurement systems and their individual components ‘respond’ to inputs by producing an output for a given input.
The output can differ from the input by having a different frequency and amplitude, and also a phase lag (time delay).
For linear systems, the frequency is not altered. However, the output can have an amplitude that is different than the input, and the output can lag the input.

## Slide 2: A Static Calibration
Figure 5.1

## Slide 3: Calibration Terms
Calibration is the comparison of a measured value to a known,
much more accurate value, known as the true value.
When a calibration consists of a number of comparisons, the maximum
relative error often is used to characterize the calibration.

## Slide 4: In-Class Example