## Slide 1
1940 Tacoma Narrows Bridge Collapse
(see www.enm.bris.ac.uk/research/nonlinear/tacoma/tacoma.html)

## Slide 2: Second-Order System Dynamic Response
The general expression for a 2nd-order system is
This is a linear 2nd-order ODE, which can be rearranged as
n (= ) is the natural frequency, which equals
for a RLC circuit and for a spring-mass-damper
system.
is the damping ratio, which equals
for a RLC circuit and for a spring-mass-damper
system.

## Slide 3: Step-Input Forcing
For step-input forcing, there are 3 specific solutions of the ODE because there are 3 different roots of the characteristic equation (see Appendix I).
The two initial conditions used are and y(0)=0.
 is the critically damped case. Its solution is Eqn. 5.59.
 < 1 is the underdamped case. Its solution is Eqn. 5.57.
 > 1 is the overdamped case. Its solution is Eqn. 5.60.

## Slide 4
Figure 5.6
Step-Input Forcing

## Slide 5
Figure 5.7
Step-Input Forcing Terminology
d
ringing frequency

## Slide 6: In-Class Example
A second-order system with  = 0.5 and a natural frequency equal to 1/ Hz is subjected to a step input of magnitude A. Determine the system’s time constant.
n = (1/) Hz = (1/) cycles/s
= (1/) cycles/s x 2 rad/cycle = 2 rad/s
For an underdamped system
>>  = 1/n = 1/[(0.5)(2 rad/s)] = 1 s

## Slide 7: Sinusoidal-Input Forcing
For sinusoidal-input forcing, the solution typically is recast into expressions for M() and () (see Eqns. 5.62-5.64 and Appendix I).
Figures 5.9 and 5.10

## Slide 8: In-Class Example
Is the RLC circuit (R = 2 ; C = 0.5 F; L = 0.5 H) underdamped, critically damped, or overdamped ?
 = R/√(4L/C) = 1 >> critically damped
With sine input forcing of 3sin2t:
  What is its magnitude ratio ?
n = √(1/LC)
= (2)(0.5) = 1
>>
M = 1/(2/n)
= 0.5 (see eqn [5.64])

## Slide 9: The Decibel
The decibel is defined in terms of a power (P) ratio, or base measurand ratio (Q), or magnitude ratio by
The one-half power point, at which the output power is
one-half of the input power, corresponds to
10log10(1/2) dB = -3 dB
This corresponds to where M() = (1/2)1/2 = 0.707
[or find M() by solving: -3 dB = 20 log10 M()]

## Slide 10: Roll off (dB/decade)
-3 dB
-40 dB
decade
[-40-(-3)]/decade
= -37 dB/decade

## Slide 11: 1st-Order System Summary
Step Input [F(t)=KA]:
t/
Sine Input [F(t)=KAsin(t)]:


## Slide 12: 2nd-Order System Summary
Step Input [F(t)=KA]:
nt
y(t) = f(KA, nt, )
Sine Input [F(t)=KAsin(t)]:
y(t) = f(KA, n, )
n