## Slide 1: Higher-Order System Response
Most measurement systems involve more than one instrument.
Many instruments in a measurement system are linear.
For linear systems comprised of more than one instrument, the overall system response can be determined as follows:
  The static sensitivity is the product of all static sensitivities.
  The magnitude ratio is the product of all magnitude ratios.
  The phase lag is the sum of all phase lags.

## Slide 2: Example 5.5 in Text

## Slide 3
+
Note correction